Manual. Shiny R App

Augusta University | 1120 15th Street, Augusta, GA 30912

Calcium imaging data analysis using shiny r app

Taraskin, Aleksandr

2023

Contents

[1. Opening the program for calcium imaging data analysis 3](#_Toc144308251)

[2. TAB: Preliminary analysis 3](#_Toc144308252)

[Uploading excel files 4](#_Toc144308253)

[How to handle several sheets in a file 5](#_Toc144308254)

[3. Save statistics per day / per sample (mean, SD, SEM, counts, relative counts) 19](#_Toc144308255)


[4. Save raw data divided by day/day period/night period as separate files 21](#_Toc144308256)

[5. Group statistics 24](#_Toc144308257)

Calcium imaging

# Opening the program for calcium imaging data analysis

The upper part of the program’s start screen look like this:



Altogether there are 4 tabs:

* Preliminary analysis (loading raw excel files, correct Time column, change column names, exclude traces, etc.)
* Analyzing amplitude (finding amplitude for curves that have 1, 2 or 3 major maximums)
* Shifting curves (shift plots automatically to the left using two algorithms)
* Rotating plot (rotating plots and their parts)

You can start using program after choosing any of these 4 (Preliminary analysis is chosen by default).


# TAB: Preliminary analysis

On this tab the main preview window (to the right from a sidebar) contains 4 internal tabs by default:

* Ratio – (fluorescence in channel 340/380)
* Numerator – (fluorescence in channel 340)
* Denominator – (fluorescence in channel 380)
* Num/Denominator – (custom ratio: values from Numerator are divided by values from Denominator)


## Uploading excel files

In order to load your file and read sheets that contain information about Ratio, 340 or 380 channels you need to check necessary boxes on the left (user is allowed to do that either before the file was chosen and loaded or after):




## How to handle several sheets in a file

An excel file should contain at least one sheet if you checked the one box or more. After pressing “Browse” button and choosing an excel file: if the file has sheets with names “Ratio” or “ratio”, “340” or “380” – they will be automatically recognized and reflected in “Select sheet for …” boxes:



## Custom sheet names


If names are different from reference, user can manually set any sheet name that corresponds to Ratio/Numerator/Denominator:




## Correct “Time” column

Next step allows you to correct the “Time” column and column names if necessary (but recommended).


To replace “Time [s]” column to “Time” and fill it with values with custom step (by default 5 sec), enter the step value into the box below (if different from default) and press “Correct ‘Time’ column”.



After pressing the “Correct ‘Time’ column” button it turns green indicating that action has been taken.




By pressing it again it turns grey and deny changes that have been made to the “Time” column.




## Change *column names*


To change other column names there are two options for number conversion and option for custom prefix.



By choosing “Number\_only” column, any number in a column name will be captured and column will be renamed using the following pattern: column name prefix (by default “cell-”) + captured number.




By choosing “Zeroes\_in\_front” option to any captured number a certain amount of zeroes will be added so the result number has fixed amount of all digits (this can help with sorting column names).




The amount of zeroes depends on the maximum number captured (maximum 9999, i.e. cell-9999). If maximum number has 4 digits and minimum number – only one, therefore the pattern is the following: “cell-0001, cell-0013, cell-0020, cell-0149, cell-1328”. The 2 digits maximum case is presented above.

If user wants to change the prefix from “cell-” to custom prefix, it can be done by entering the prefix in the “Enter new column names” box:



In this case if “No\_changes” radio button is chosen “Change column names” button won’t cause any changes and just will turn green one time indicating that the button was pressed at least one time. As long as this is an action button there are no “grey” state for it, “green” only. User can discard changes by choosing “No\_changes” radio button any time.


For changes to take effect user needs to choose first the column names style above (“Number\_only” or “Zeroes\_in\_front”) – entered prefix will be used momentarily to change column names. For the custom prefix AFTER this action has taken place user can enter custom prefix value and press “Change column names” button to change the prefix in column names.



After choosing column names style or changing column names prefix “Time [s]” column also changes its name automatically to “Time” only (if you haven’t done it earlier) but no automatic changes to its values are applied though.

## Display option


The last “Display” option in this section allows you to just show several rows only in a preview table. It is relevant only for amount of traces > 500 to speed up the process of loading and previewing data.




Finally, “Save as excel file” button allows to save an excel file (**{*initial name of the file}-*ProcessedTable.xlsx**) with data that match the preview’s format.

## Calculate basic statistics

This step is mandatory to proceed further with the preliminary data analysis (tab: Preliminary analysis). All the mandatory buttons that are required to be pressed in order to move further are in blue. After pressing it, button turns green. If data was processed a descriptive statistic table will appear at the right to the sidebar.




After pressing the button “Calculate basic Stat for TS” user needs to wait until the notification with the green check mark appears:




The obtained table with major descriptive statistics parameters have the following columns:

“Cell”, “Min”, “Max”, “Difference”, “Mean”, “Median”, “SD.mean”, “SE.mean”, “Time\_points\_amount”, “Missing”.




* “Cell”– the name of the initial column. All the parameters below are calculated for all the values in each column.
* “Min” – minimum value in the specific column
* “Max” – maximum value in the specific column
* “Difference” – difference between Max and Min
* “Mean” – mean value in the specific column
* “Median” – median in the specific column
* “SD.mean” – standard deviation for values in the specific column
* “SE.mean” – standard error of the mean in the specific column
* “Time\_points\_amount” – the amount of time points in each column
* “Missing” – if some values are absent in the specific column this value will be > 0 indicating their amount

**If there are some missing values last two columns of this table will be marked as yellow and the trace with missing values (row) will be in red (otherwise nothing is highlighted):**



## Save descriptive statistics table as excel file


The table with descriptive statistics can be saved as an excel file (**{*initial name of the file}*-BasicStatisticsTable.xlsx**):




## Creating plots and excluding bad traces


The final step for the “Preliminary analysis” tab allows user to plot all the graphs at once as well as each of them one by one to analyze them and exclude bad traces.

At first user can choose the way to order column names in the table uploaded from the excel file on the first step (the initial one).




By default the sorting algorithm is “Native” which means that columns are be ordered the same way like in the initial excel file. If for some reasons they were unordered or mixed it is possible to reorder columns which will affect the legend of the plot (when pressing “Plot all graphs”). By looking at the legend when all traces are plotted at the same graph user can define the sorting method of choice:






The algorithm to choose depends on a prefix or a column name style and should be manually adjusted if columns are unordered or a custom prefix was chosen.


By pressing “Plot single graph” a single plot can be rendered. To choose a specific name of the traces use the “Ratio cells names” box:



To switch traces using keyboard’s arrows (up and down) it is necessary to press ones on the “Ratio cells names” box and choose any trace at first:



After choosing any trace it will be displayed to the right from the sidebar and user can switch traces (their plots) by pressing arrows buttons (up and down only) for convenience. When this mode is active (switching mode) the box is glowing in blue:



## Excluding traces

To exclude traces